LEGCO QUESTION NO. 3

Appendix

Changes in the number of fitments in male and female lavatories

before and after the issue of the new Practice Note

A.	Shopping Arcades

Female Lavatories

| Area (m2) | Before issue of Practice Note |  | After issue of Practice Note |  | Percentage increase in the no. of water closets |
| --- | --- | --- | --- | --- | --- |
|  | No. of female | No. of water closets | No. of female1 | No. of water closets |  |
| 100 | 4 | 1 | 19 | 1 | 0 |
| 200 | 7 | 1 | 37 | 2 | 100% |
| 300 | 10 | 1 | 56 | 3 | 200% |
| 1500 | 50 | 3 | 278 | 5 | 67% |
| 6000 | 200 | 9 | 1111 | 13 | 44% |
| 10500 | 350 | 15 | 1944 | 21 | 40% |
| 12000 | 400 | 17 | 2222 | 24 | 41% |

Male lavatories

| Area (m2) | Before issue of Practice Note |  |  | After issue of Practice Note |  |  | Percentage increase/decrease in the no. of water closets and urinals |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | No. of male | No. of water closets | No. of urinals | No. of male1 | No. of water closets | No. of urinals |  |
| 100 | 4 | 1 | 1 | 15 | 1 | 1 | 0 |
| 200 | 7 | 1 | 1 | 30 | 1 | 1 | 0 |
| 300 | 10 | 1 | 1 | 44 | 1 | 1 | 0 |
| 1500 | 50 | 2 | 1 | 222 | 2 | 1 | 0 |
| 6000 | 200 | 6 | 4 | 889 | 6 | 4 | 0 |
| 10500 | 350 | 9 | 7 | 1556 | 9 | 7 | 0 |
| 12000 | 400 | 10 | 8 | 1778 | 10 | 8 | 0 |

B.	Places of Public Entertainment

Female Lavatories

| Seating Capacity | Before issue of Practice Note |  | After issue of Practice Note |  | Percentage increase in the no. of water closets |
| --- | --- | --- | --- | --- | --- |
|  | No. of female | No. of water closets | No. of female2 | No. of water closets |  |
| 200 | 100 | 2 | 111 | 6 | 200% |
| 400 | 200 | 4 | 222 | 9 | 125% |
| 600 | 300 | 5 | 333 | 11 | 120% |
| 3000 | 1500 | 17 | 1667 | 38 | 124% |
| 12000 | 6000 | 62 | 6667 | 138 | 123% |

Male Lavatories

| Seating Cpacity | Before issue of Practice Note |  |  | After issue of Practice Note |  |  | Percentage increase/decrease in the no. of water closets and urinals |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | No. of male | No. of water closets | No. of urinals | No. of male2 | No. of water closets | No. of urinals |  |
| 200 | 100 | 1 | 2 | 89 | 1 | 2 | 0 |
| 400 | 200 | 2 | 4 | 178 | 2 | 4 | 0 |
| 600 | 300 | 3 | 6 | 267 | 3 | 6 | 0 |
| 3000 | 1500 | 9 | 30 | 1333 | 8 | 27 | -11% and -10% |
| 12000 | 6000 | 27 | 120 | 5333 | 24 | 107 | -11% and -11% |

C.	Cinemas

Female Lavatories

| Seating Capacity | Before issue of Practice Note |  | After issue of Practice Note |  | Percentage increase in the no. of water closets |
| --- | --- | --- | --- | --- | --- |
|  | No. of female | No. of water closets | No. of female2 | No. of water closets |  |
| 50 | 25 | 1 | 28 | 1 | 0 |
| 100 | 50 | 1 | 56 | 2 | 100% |
| 200 | 100 | 1 | 111 | 3 | 200% |
| 300 | 150 | 2 | 167 | 4 | 100% |
| 500 | 250 | 2 | 278 | 5 | 150% |
| 1000 | 500 | 3 | 556 | 9 | 200% |

Male Lavatories

| Seating Capacity | Before issue of Practice Note |  |  | After issue of Practice Note |  |  | Percentage increase/decrease in the no. of water closets and urinals |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | No. of male | No. of water closets | No. of urinals | No. of male2 | No. of water closets | No. of urinals |  |
| 50 | 25 | 1 | 1 | 22 | 1 | 1 | 0 |
| 100 | 50 | 1 | 1 | 44 | 1 | 1 | 0 |
| 200 | 100 | 1 | 1 | 89 | 1 | 1 | 0 |
| 300 | 150 | 1 | 2 | 133 | 1 | 2 | 0 |
| 500 | 250 | 2 | 3 | 222 | 2 | 3 | 0 |
| 1000 | 500 | 2 | 5 | 444 | 2 | 5 | 0 |

Note1: 	The number of male and female has increased after the issue of the new Practice Note for two reasons.  First, before the issue of the new Practice Note, the assessment of the number of people only includes those employed in the shopping arcades.  However, the new Practice Note specifies that patrons in the shopping arcades should be included as well.  This new guideline accounts for the increases in the number of both male and female.  Second, the change in the assumed ratio of male and female from 1:1 to 1:1.25 also accounts for the corresponding increases in the number of female.

Note2: 	After the issue of the new Practice Note, the number of male has decreased and the number of female has increased.  This is due to the change in the assumed ratio of male to female from 1:1 to 1:1.25.