Details of public lighting installations used in Hong Kong

| Public Lighting Installation | Type of Light Source | Watt (W) | Luminous Efficacy (lumen/W) | Average Life (hours) |
| --- | --- | --- | --- | --- |
| Road lights | High-efficiency high pressure sodium lamps | 50-600 | 90-150 | 32 000 |
| Road tunnel lights | High-efficiency high pressure sodium lamps | 150-400 | 117-137 | 32 000 |
|  | Tubular fluorescent lamps | 28-58 | ~90 | 13 000 |
| Footbridges, pedestrian subways and bollard lights | Tubular fluorescent lamps | 13-58 | ~90 | 13000 |
| Road sign lights | Ceramic metal halide lamps | 70-150 | ~90 | 12 000 |