|  |  |  |  | Annex I |
| --- | --- | --- | --- | --- |

# LegCo Question No. 16

| Quality of Dongjiang water as received in Hong Kong at Muk Wu Pumping Station |
| --- |
| (2003/04 - 2007/08 Monitoring Results) |
| As the national standard of surface water quality was raised, new versions of the water quality standard were issued in various years to delete, revise or add monitoring parameters. The versions of standard adopted by the WSD to monitor water quality in the past 5 years are as follows. In accordance with international practice, the WSD compares the yearly average against the standard values. |
| 2003/04 | Class II Standard of the Environmental Quality Standard for Surface Water (GB 3838-83) |
| 2004/05 & 2005/06 | Type II Standard (applicable for the abstraction for human consumption in first class protection area) of the Environmental Quality Standards for Surface Water (GB 3838-88) |
| 2006/07 & 2007/08 | Type II water (applicable for the abstraction for human consumption in first class protection area) in the Environmental Quality Standards for Surface Water (GB3838-2002) |

| Parameters | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 |
| --- | --- | --- | --- | --- | --- |
| pH value | Average | 7.1 | 7.1 | 7.3 | 7.2 | 7.2 |
|  | Standard value | 6.5 - 8.5 | 6.5 - 8.5 | 6 - 9 |
| Colour | Average | <5 | - | - | - | - |
| (Hazen Unit) | Standard value | < 15 | - | - |
| Dissolved Oxygen | Average | 6.6 | 6.8 | 7.4 | 7.6 | 7.7 |
| (mg／L) | Standard value | > 6 | > 6 | > 6 |
| Chemical Oxygen Demand (COD) | Average | - | <5 | 6 | <5 | 6 |
| (mg／L) | Standard value | - | < 15 | < 15 |
| Biochemical Oxygen Demand (BOD5) | Average | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 |
| (mg／L) | Standard value | < 3 | < 3 | < 3 |
| Permanganate Value | Average | 0.72 | 0.66 | 0.56 | 2 (note 1) | 2 |
| (mg／L) | Standard value | < 4 | < 4 | < 4 |
| Volatile Phenols | Average | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 |
| (mg／L) | Standard value | < 0.005 | < 0.002 | < 0.002 |
| Cyanide | Average | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 |
| (mg／L) | Standard value | < 0.05 | < 0.05 | < 0.05 |
| Arsenic | Average | 0.001 | 0.002 | 0.002 | 0.001 | 0.002 |
| (mg／L) | Standard value | < 0.04 | < 0.05 | < 0.05 |
| Mercury | Average | <0.00005 | <0.00005 | <0.00005 | <0.00005 | <0.00005 |
| (mg／L) | Standard value | < 0.0005 | < 0.00005 | < 0.00005 |
| Cadmium | Average | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 |
| (mg／L) | Standard value | < 0.005 | < 0.005 | < 0.005 |
| Chromium (VI) | Average | <0.002 | 0.003 | 0.003 | 0.002 | <0.002 |
| (mg／L) | Standard value | < 0.02 | < 0.05 | < 0.05 |
| Lead | Average | <0.003 | <0.003 | < 0.003 | <0.003 | <0.003 |
| (mg／L) | Standard value | < 0.05 | < 0.05 | < 0.01 |
| Copper | Average | 0.006 | 0.007 | 0.005 | 0.004 | 0.004 |
| (mg／L) | Standard value | < 0.01 | < 1.0 | < 1.0 |
| Petroleum Hydrocarbons | Average | - | <0.0125 | <0.0125 | <0.0125 | <0.0125 |
| (mg／L) | Standard value | - | < 0.05 | < 0.05 |
| Sulphides | Average | - | - | - | <0.05 | <0.05 |
| (mg／L) | Standard value | - | - | < 0.1 |
| Total Coliforms | Average | 3000 | - | - | - | - |
| (No.／L) | Standard value | < 10000 | - | - |
| Faecal Coliforms (note 2) | Average | - | - | - | 1200 | 1000 |
| (No.／L) | Standard value | - | - | < 2000 |
| Total Phosphorus (as P) | Average | - | 0.082 | 0.072 | 0.053 | 0.041 |
| (mg／L) | Standard value | - | < 0.1 | < 0.1 |
| Sulphate (as SO42-) | Average | - | 11 | 8.8 | 7.6 | 8.3 |
| (mg／L) | Standard value | - | < 250 | < 250 |
| Chloride (as Cl- ) | Average | - | 11 | 7 | 6 | 7 |
| (mg／L) | Standard value | - | < 250 | < 250 |
| Iron | Average | - | 0.26 | 0.22 | 0.16 | 0.20 |
| (mg／L) | Standard value | - | < 0.3 | < 0.3 |
| Manganese | Average | - | 0.04 | 0.04 | 0.04 | 0.04 |
| (mg／L) | Standard value | - | < 0.1 | < 0.1 |
| Zinc | Average | - | 0.01 | < 0.01 | <0.01 | <0.01 |
| (mg／L) | Standard value | - | < 1.0 | < 1.0 |
| Nitrate (as N) | Average | - | 2.1 | 1.4 | 1.4 | 1.5 |
| (mg／L) | Standard value | - | < 10 | < 10 |
| Nitrite (as N) | Average | - | 0.029 | 0.017 | - | - |
| (mg／L) | Standard value | - | < 0.1 | - |
| Ammoniacal Nitrogen (NH3-N) | Average | - | - | - | 0.04 | 0.05 |
| (mg／L) | Standard value | - | - | < 0.5 |
| Nonionic Ammonia | Average | - | <0.0050 | <0.0050 | - | - |
| (mg／L) | Standard value | - | < 0.02 | - |
| Kjeldahl Nitrogen | Average | - | 0.3 | 0.3 | - | - |
| (mg／L) | Standard value | - | < 0.5 | - |
| Fluoride (as F-) | Average | - | 0.28 | 0.21 | 0.18 | 0.21 |
| (mg／L) | Standard value | - | < 1.0 | < 1.0 |
| Selenium | Average | - | <0.001 | <0.001 | <0.001 | <0.001 |
| (mg／L) | Standard value | - | < 0.01 | < 0.01 |
| Anionic Surfactants | Average | - | <0.1 | <0.1 | <0.1 | <0.1 |
| (mg／L) | Standard value | - | < 0.2 | < 0.2 |
| Benzo[a]pyrene | Average | - | < 2.0 x 10-6 | < 2.0 x 10-6 | < 2.0 x 10-6 | <2.0 x 10-6 |
| (mg／L) | Standard value | - | < 2.5 x 10-6 | < 2.8 x 10-6 |
| Notes: |  |  |  |  |  |  |
| (1) WSD adopts the GB3838-2002 standard for the monitoring of Dongjiang water quality starting from 2006/07. In accordance with the new standard, a new testing method that uses permanganate at a higher temperature is used to measure more effectively the amount of oxidizable substances in the water. The new testing method will yield higher permanganate indices but they do not mean an increase in oxidizable substances in the water. |  |  |  |
| (2) The numbers measure the results of analysis for E. coli. According to international practice, E. Coli is an indicator bacteria of faecal contamination. |